## Summary
| Energy source levels and technology |  |  |  |  | AT | [5 empty] | BE |  |  | BG | CH | [6 empty] | CZ | [5 empty] | DE |  | DK |  |  |  |  | EE |  |  |  |  | ES | [5 empty] | FR |  |  |  |  | FI |  |  | GB |  |  | GR |  |  |  |  | HR |  |  | HU |  | IE |  | IT |  | LT |  |  | LU |  | LV |  |  |  |  | NL |  |  |  | NO |  |  |  | PL |  | PT |  |  |  |  | RO |  |  |  |  | SE |  |  | SI |  |  | SK
| Total generation capacity | Generation capacity by energy type (fossil, nuclear, renewable, other) | Generation capacity by fuel or energy source (e.g. coal, lignite, hard coal, natural gas, wind) | Generation capacity by fuel or energy source and detailed fuel for bioenergy | Generation capacity by fuel and technology (e.g. combined cycle natural gas, gas turbine, onshore wind, offshore wind) | Installed capacity in MW | [5 empty] | Installed capacity in MW |  |  | Installed capacity in MW | Installed capacity in MW | [6 empty] | Installed capacity in MW | [5 empty] | Installed capacity in MW |  | Installed capacity in MW |  |  |  |  | Installed capacity in MW |  |  |  |  | Installed capacity in MW | [5 empty] | Installed capacity in MW |  |  |  |  | Installed capacity in MW |  |  | Installed capacity in MW |  |  | Installed capacity in MW |  |  |  |  | Installed capacity in MW |  |  | Installed capacity in MW |  | Installed capacity in MW |  | Installed capacity in MW |  | Installed capacity in MW |  |  | Installed capacity in MW |  | Installed capacity in MW |  |  |  |  | Installed capacity in MW |  |  |  | Installed capacity in MW |  |  |  | Installed capacity in MW |  | Installed capacity in MW |  |  |  |  | Installed capacity in MW |  |  |  |  | Installed capacity in MW |  |  | Installed capacity in MW |  |  | Installed capacity in MW
[6 empty] | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2015 | 2017 | 2018 | 2012 | 2012 | 2012 | 2014 | 2015 | 2016 | 2017 | 2018 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2013 | 2014 | 2013 | 2014 | 2015 | 2016 | 2017 | 2013 | 2014 | 2015 | 2016 | 2017 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2014 | 2015 | 2016 | 2017 | 2018 | 2013 | 2014 | 2015 | 2015 | 2016 | 2017 | 2012 | 2013 | 2014 | 2015 | 2016 | 2013 | 2015 | 2017 | 2013 | 2014 | 2014 | 2015 | 2014 | 2015 | 2014 | 2015 | 2018 | 2013 | 2014 | 2013 | 2014 | 2015 | 2016 | 2017 | 2013 | 2015 | 2016 | 2018 | 2013 | 2013 | 2015 | 2017 | 2014 | 2017 | 2013 | 2014 | 2015 | 2016 | 2017 | 2013 | 2014 | 2015 | 2016 | 2017 | 2013 | 2014 | 2015 | 2013 | 2014 | 2015 | 2013 | 2014 | 2015
[6 empty] | e-control | e-control | e-control | e-control | e-control | e-control | ELIA | ELIA | ELIA | TSO Bulgaria | UN Statistical Office | BFE | BFE | BFE | BFE | BFE | BFE | ERU | ERU | ERU | ERU | ERU | ERU | BMWi | BMWi | DEA | DEA | DEA | DEA | DEA | Statistics Estonia | Statistics Estonia | Statistics Estonia | Statistics Estonia | Statistics Estonia | REE | REE | REE | REE | REE | REE | RTE | RTE | RTE | RTE | RTE | Statistics Finland | Statistics Finland | Statistics Finland | Department of Energy & Climate Change | Department of Energy & Climate Change | Department of Energy & Climate Change | Regulatory Authority for Energy | Regulatory Authority for Energy | Regulatory Authority for Energy | Regulatory Authority for Energy | Regulatory Authority for Energy | Croation Transmission System operator (HOPS) | Croation Transmission System operator (HOPS) | Croation Transmission System operator (HOPS) | Mavir | Mavir | Eirgrid | Eirgrid | Terna | Terna | Litgrid | Litgrid | Litgrid | ILR | ILR | Central Statistical Bureau of Latvia | Central Statistical Bureau of Latvia | Central Statistical Bureau of Latvia | Central Statistical Bureau of Latvia | Central Statistical Bureau of Latvia | Tennet | Tennet | Tennet | Tennet | UN Statistical Office | Energy Ministry | Energy Ministry | Energy Ministry | CIRE | CIRE | REN | REN | REN | REN | REN | Anre | Anre | Anre | Anre | Anre | Svensk Energi | Svensk Energi | Svensk Energi | Agencija za energijo | Agencija za energijo | Agencija za energijo | Statistical Office of Slovakia | Statistical Office of Slovakia | Statistical Office of Slovakia
[6 empty] | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Statistical Office | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Ministry | Ministry | Ministry | Ministry | Ministry | Ministry | Ministry | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Statistical Office | Statistical Office | Statistical Office | Ministry | Ministry | Ministry | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Regulatory Authority | Regulatory Authority | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Statistical Office | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Statistical Office | Ministry | Ministry | Ministry | Private companies | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Transmission System Operator | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Regulatory Authority | Other associations | Other associations | Other association | Ministry | Ministry | Ministry | Statistical Office | Statistical Office | Statistical Office
[6 empty] | https://www.e-control.at/documents/1785851/1811756/BeStGes-JR_KWEPL.xlsx/d4357de2-9d0e-a3ae-4349-17d10306677e?t=1568280083538 | https://www.e-control.at/documents/1785851/1811756/BeStGes-JR_KWEPL.xlsx/d4357de2-9d0e-a3ae-4349-17d10306677e?t=1568280083538 | https://www.e-control.at/documents/1785851/1811756/BeStGes-JR_KWEPL.xlsx/d4357de2-9d0e-a3ae-4349-17d10306677e?t=1568280083538 | https://www.e-control.at/documents/1785851/1811756/BeStGes-JR_KWEPL.xlsx/d4357de2-9d0e-a3ae-4349-17d10306677e?t=1568280083538 | https://www.e-control.at/documents/1785851/1811756/BeStGes-JR_KWEPL.xlsx/d4357de2-9d0e-a3ae-4349-17d10306677e?t=1568280083538 | https://www.e-control.at/documents/1785851/1811756/BeStGes-JR_KWEPL.xlsx/d4357de2-9d0e-a3ae-4349-17d10306677e?t=1568280083538 | https://www.elia.be/en/grid-data/power-generation/generating-facilities | https://www.elia.be/en/grid-data/power-generation/generating-facilities | https://www.elia.be/en/grid-data/power-generation/generating-facilities | http://www.eso.bg/fileObj.php?oid=99 | http://data.un.org/Data.aspx?d=EDATA&f=cmID%3AEC | https://www.bfe.admin.ch/bfe/de/home/versorgung/statistik-und-geodaten/energiestatistiken/elektrizitaetsstatistik/_jcr_content/par/tabs/items/tab/tabpar/externalcontent.external.exturl.pdf/aHR0cHM6Ly9wdWJkYi5iZmUuYWRtaW4uY2gvZGUvcHVibGljYX/Rpb24vZG93bmxvYWQvNzA3Ni5wZGY=.pdf | https://www.bfe.admin.ch/bfe/de/home/versorgung/statistik-und-geodaten/energiestatistiken/elektrizitaetsstatistik/_jcr_content/par/tabs/items/tab/tabpar/externalcontent.external.exturl.pdf/aHR0cHM6Ly9wdWJkYi5iZmUuYWRtaW4uY2gvZGUvcHVibGljYX/Rpb24vZG93bmxvYWQvNzkyNS5wZGY=.pdf | https://www.bfe.admin.ch/bfe/de/home/versorgung/statistik-und-geodaten/energiestatistiken/elektrizitaetsstatistik/_jcr_content/par/tabs/items/tab/tabpar/externalcontent.external.exturl.pdf/aHR0cHM6Ly9wdWJkYi5iZmUuYWRtaW4uY2gvZGUvcHVibGljYX/Rpb24vZG93bmxvYWQvODM0My5wZGY=.pdf | https://www.bfe.admin.ch/bfe/de/home/versorgung/statistik-und-geodaten/energiestatistiken/elektrizitaetsstatistik/_jcr_content/par/tabs/items/tab/tabpar/externalcontent.external.exturl.pdf/aHR0cHM6Ly9wdWJkYi5iZmUuYWRtaW4uY2gvZGUvcHVibGljYX/Rpb24vZG93bmxvYWQvODY5My5wZGY=.pdf | https://www.bfe.admin.ch/bfe/de/home/versorgung/statistik-und-geodaten/energiestatistiken/elektrizitaetsstatistik/_jcr_content/par/tabs/items/tab/tabpar/externalcontent.external.exturl.pdf/aHR0cHM6Ly9wdWJkYi5iZmUuYWRtaW4uY2gvZGUvcHVibGljYX/Rpb24vZG93bmxvYWQvOTM5Ni5wZGY=.pdf | https://www.bfe.admin.ch/bfe/de/home/versorgung/statistik-und-geodaten/energiestatistiken/elektrizitaetsstatistik/_jcr_content/par/tabs/items/tab/tabpar/externalcontent.external.exturl.pdf/aHR0cHM6Ly9wdWJkYi5iZmUuYWRtaW4uY2gvZGUvcHVibGljYX/Rpb24vZG93bmxvYWQvOTc0OC5wZGY=.pdf | https://www.eru.cz/documents/10540/462820/Annual_report_electricity_2013.pdf/34a35d27-9c58-4c79-99d1-f0fbc5eac06a | https://www.eru.cz/documents/10540/462820/Annual_report_electricity_2014.pdf/f23d80b5-668a-42c0-9d04-1a19556c9c58 | https://www.eru.cz/documents/10540/462820/Annual_report_electricity_2015.pdf/2548f33b-7964-4537-8b97-3943c7d83854 | https://www.eru.cz/documents/10540/462820/Annual_report_electricity_2016.pdf/bfbc88b7-a814-498f-99bf-98b50148c805 | https://www.eru.cz/documents/10540/4580209/Yearly_report_electricity_2017.pdf/a4042a98-8750-4524-bb3c-f172ecba2f3b | http://www.eru.cz/documents/10540/4580207/Yearly_report_electricity_2018.pdf/f25a55d8-6730-4521-8e40-96d8e5f00c70
| Level 0 | Level 1 | Level 2 | Level 3 | Technology level | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Unknown | Unknown | Unknown | Unknown | Net capacity | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Gross capacity | Gross capacity | Net capacity | Net capacity | Net capacity | Net capacity | Net capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Gross capacity | Gross capacity | Gross capacity | Gross capacity | Net capacity | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Net capacity | Net capacity | Net capacity | Unknown | Unknown | Unknown
Fossil fuels | 0 | 1 | 0 | 0 | 0 | 7561.289 | 7243.634 | 7059.065 | 7323 | 6469 | 6492 |  |  | 5961.4 | 6888 | 959 | 575 | 622 | 593 | 1018 | 1111 | 946 | 12157.6 | 12961.1 | 12961.1 | 13087.5 | 13334.8 | 13349.8 |  |  | 7836.45 | 7579.72 | 7526 | 7527 | 7284 | 2802 | 2798 | 2510 | 2547 | 2527 | 47968 | 47821 | 46808 | 45655.1535 | 45482.2745 | 45117.7555 | 25149.83 | 17601 | 15721 | 14926 | 22047 | 11135 | 10743 | 10134 | 55505.7 | 50512.1565 | 50901 | 10239.5 | 10060 | 10060 | 10905 | 9151 | 1670 | 2010 | 1994 |  |  | 5737 | 5737 | 61719.854 | 60240.814 | 2846 | 1910 | 1910 | 511.695 | 509.745 | 1251.5 | 1265.3 | 1275.1 | 1292.1 | 1299.1 | 22244 | 21743 | 17450 | 18004 | 1611 | 1130 | 1646 | 728 | 31086.7 | 31512.8 | 6515 | 6458 | 6454 | 6452 | 6403 | 12079 | 12102 | 12010 | 11272 | 11300 | 4635 | 4866 | 4501 | 1240 | 1766 | 1442.97 | 3348 | 2907 | 2586
- Lignite | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | [6 empty] | 4177 | [42 empty] | 4930 | 4456 | 4456 | 4456 | 3912 | [27 empty] | 9220.5 | 9286.9
- Hard coal | 0 | 0 | 1 | 1 | 1 | 1171 | 1171 | 1171 |  | 1012 | 1012 |  |  |  | 1917 | [32 empty] | 4810 | 2930 | 2930 | 3972 |  |  |  | 13252 | 14513 | [25 empty] | 5874 | 5838 | 5118 | 4008 |  | 0 | 0 |  | 20291.1 | 20989.5 |  |  |  | 1756 | 1756 |  |  |  | 5785 | 5805
- Oil | 0 | 0 | 1 | 1 | 1 | 360.436 | 333.736 | 173.636 |  | 168 | 168 | [29 empty] | 2996 | 2996 | 2490 |  |  |  |  | 6670 | 6670 | 5300 | 6263 |  |  |  | 2880.4 | 1370.9 |  | 730 | 698 | 698 | 698 | 0 | [5 empty] | 1126 | 1126 | [38 empty] | 140 | 138 | 138
- Natural gas | 0 | 0 | 1 | 1 | 0 | 5119.113 | 4888.658 | 4820.189 |  | 4853 | 4876 |  |  | 5724.2 | 794 | [25 empty] | 26670 | 26670 | 26670 |  |  |  |  | 6121 | 6121 | 6696 | 11812 | 1115 | 1161 | 1161 | 31917.3 | 33998.2565 |  | 4579.5 | 4906 | 4906 | 5751 | 5239 | [5 empty] | 258 | 258 | [12 empty] | 16370 | 15905 | 12332 | 13996 |  | 0 | 0 |  | 927.2 | 1236.4 | 4759 | 4702 | 4698 | 4636 | 4607 |  |  |  | 5487 | 5495 | [6 empty] | 1016 | 1022 | 959
- Combined cycle | 0 | 0 | 0 | 0 | 1 | [8 empty] | 2990.2 | [8 empty] | 518 | 1363.3 | 1363.3 | 1363.5 | 1363.5 | 1363.5 | [26 empty] | 29771 | 30090 | 32887 | 3737
- Gas turbine | 0 | 0 | 0 | 0 | 1 | [8 empty] | 332 | [8 empty] | 820.1 | 855.9 | 855.9 | 874 | 895.9 | 910.9 | [26 empty] | 32.3 | 32.3 |  | 508.5
- Other and unknown natural gas | 0 | 0 | 0 | 0 | 1 | [8 empty] | 1393 | [43 empty] | 334 | [33 empty] | 930 | 873 | 869 |  |  | 0 | 0
- Differently categorized natural gas | 0 | 0 | 0 | 0 | 1 | 5119.113 | 4888.658 | 4820.189 |  | 4853 | 4876 |  |  | 1009 | 794 | [25 empty] | 26670 | 26670 | 26670 |  |  |  | 0 | 6121 | 6121 | 6696 |  | 1115 | 1161 | 1161 | 2114 | 3875.9565 | [11 empty] | 258 | 258 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  | 16370 | 15905 | 12332 | 13996 | 0 | 0 | 0 |  | 927.2 |  | 3829 | 3829 | 3829 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 1016 | 1022 | 959
- Non-renewable waste | 0 | 0 | 1 | 1 | 1
- Mixed fossil fuels | 0 | 0 | 1 | 1 | 1 | 496.74 | 436.24 | 480.24 |  | 436 | 436 | [43 empty] | 7456 | 630 | [11 empty] | 4353 | 4353 | [38 empty] | 1213 | 820 | 779
- Other fossil fuels | 0 | 0 | 1 | 1 | 1 | 414 | 414 | 414 | [5 empty] | 237.2 | [29 empty] | 6491.1535 | 6318.2745 | 6313.7555 | [10 empty] | 1680
- Differently categorized fossil fuels | 0 | 0 | 1 | 1 | 1 | [10 empty] | 959 | 575 | 622 | 593 | 1018 | 1111 | 946 | 10819.5 | 10741.9 | 10741.9 | 10850 | 11075.4 | 11075.4 |  |  | 7836.45 | 7579.72 | 7526 | 7527 | 7284 | 2802 | 2798 | 2510 | 2547 | 2527 | 18302 | 18155 | 17648 | 39164 | 39164 | 38804 | 25149.83 | 0 | 0 | 0 |  | 10020 | 9582 | 8973 | 0 | 0 | 16334 | [5 empty] | 1670 | 2010 | 1994 |  |  | 0 | 0 | 61719.854 | 60240.814 | 2846 | 1910 | 1910 | 511.695 | 509.745 | 1251.5 | 1265.3 | 1275.1 |  |  | 0 | 0 |  |  | 1611 | 1130 | 1646 | 728 | 647.9 |  | 1756 | 1756 | 1756 | 60 | 40 | 12079 | 12102 | 12010 |  |  | 4635 | 4866 | 4501 | 1240 | 1766 | 1442.97 | 979 | 927 | 710
Nuclear | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 5919 | 2000 | 3278 | 3278 | 3333 | 3333 | 3333 | 3333 | 3333 | 4290 | 4290 | 4290 | 4290 | 4290 | 4290 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7573 | 7573 | 7573 | 7573 | 7117 | 7117 | 63130 | 63130 | 63130 | 63130 | 63130 | 2752 | 2752 | 2752 | 9408 | 8918 | 9361 | [24 empty] | 492 | 492 | 492 | 492 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 1413 | 1413 | 1413 | 1300 | 1300 | 9531 | 9528 | 9714 | 696 | 696 | 348 | 1940 | 1940 | 1940
Renewable energy sources | 0 | 1 | 0 | 0 | 0 | 16181.2978 | 16893.0786 | 17488.5595 | 17879 | 18840 | 19620 |  |  | 3200 | 4874 | 16073 | 14008 | 14645 | 14867 | 15271 | 16548 | 17336 | 4631.6 | 4597.4 | 4614.5 | 4614.1 | 4641.9 | 4637 |  |  | 5399.34 | 5502.82 | 5865 | 6105 | 6437 | 274 | 339 | 308 | 316.5 | 318 | 50348 | 50400 | 51053 | 51435.7389 | 51515.3723 | 51794.6564 | 34183.13 | 24138.76 | 25737.1 | 25889.54 | 46588 | 3383 | 3572 | 3783 | 16031.85 | 25930.7418 | 21032 | 5069.5 | 7003 | 8014 | 8143 | 8428 | 2448 | 2540 | 2633 |  |  | 3036 | 3257 | 12573.67 | 12846.42 | 1459 | 1647 | 1755 | 1297.375 | 1512.772 | 1809.15 | 1838.68 | 1844.4 | 1777 | 1796 | 48 | 48 | 0 | 0 | 31214 | 30684 | 31214 | 32373 | 6394.9 | 9378.1 | 10897 | 11230 | 12014 | 13087 | 13397 | 10209.05 | 10985.05 | 11131.05 | 11142 | 11137 | 24107 | 25155 | 25736 | 1154 | 1156 | 1616.31 | 3200 | 3250 | 3223
- Hydro | 0 | 0 | 1 | 1 | 0 | 13427.3708 | 13567.9973 | 13656.7018 | 14118 | 14150 | 14516 |  |  | 1394.1 | 3161 | 15587 | 13770 | 13828 | 13745 | 13817 | 14809 | 15355 | 2229.2 | 2251.9 | 2259 | 2264.2 | 2264.2 | 2264 |  |  | 8.73 | 8.62 | 7 | 9 | 9 | 8 | 5 | 8 | 6.5 | 7 | 19450 | 19457 | 20325 | 20375 | 20372 | 20390 | 25502.16 | 23492.76 | 23494.5 | 23522.64 | 24820 | 3125 | 3125 | 3153 | 4270 | 4586.6726 | 4367 | 3223 | 3018 | 3393 | 3397 | 3396 | 2194 | 2112 | 2104 |  |  | 508 | 508 | 12216.43 | 12489.18 | 1028 | 1028 | 1028 | 1130.308 | 1330.308 | 1589 | 1590 | 1589 | 1564 | 1564 |  |  |  |  | 30509 | 30172 | 30509 | 31500 | 2207.7 | 2306 | 5653 | 5693 | 6146 | 6945 | 7193 | 6648 | 6709 | 6731 | 6685 | 6700 | 16150 | 16155 | 16184 | 1154 | 1156 | 1278.68 | 2523 | 2553 | 2522
- Run-of-river | 0 | 0 | 0 | 0 | 1 | 5580.6708 | 5598.9643 | 5662.3998 | 5700 | 5714 | 5722 |  |  |  | 176 | [32 empty] | 10314.1 | 10325.5 | 10326.98 | 11222 | [20 empty] | 101 | 101 |  | 32.3 | 32.3
- Reservoir | 0 | 0 | 0 | 0 | 1 | [42 empty] | 8213.66 | 8204 | 8230.66 | 8578
- Reservoir including pumped storage | 0 | 0 | 0 | 0 | 1 | 7846.7 | 7969.033 | 7994.302 | 8418 | 8436 | 8795 |  |  |  | 2218
- Pumped storage | 0 | 0 | 0 | 0 | 1 | [10 empty] | 450 | [6 empty] | 1146.5 | 1171.5 | 1171.5 | 1171.5 | 1171.5 | 1171.5 | [12 empty] | 2451 | 2451 | 3301 |  |  |  |  | 4965 | 4965 | 4965 | 5020 |  |  |  | 2528 | 2528 | 2744 | [10 empty] | 292 | 292 |  |  | 900 | 900 |  | 1096 | 1296 | [9 empty] | 450 |  |  |  | 1330 | 1413 | [16 empty] | 916 | 916 | 916
- Pumped storage with natural inflow | 0 | 0 | 0 | 0 | 1
- Differently categorized hydro | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [6 empty] | 767 | 15137 | 13770 | 13828 | 13745 | 13817 | 14809 | 15355 | 1082.7 | 1080.4 | 1087.5 | 1092.7 | 1092.7 | 1092.5 |  |  | 8.73 | 8.62 | 7 | 9 | 9 | 8 | 5 | 8 | 6.5 | 7 | 16999 | 17006 | 17024 | 20375 | 20372 | 20390 | 25502.16 | 0 | 0 | 0 |  | 3125 | 3125 | 3153 | 1742 | 2058.6726 | 1623 | 3223 | 3238 | 3393 | 3397 | 3396 | 2194 | 2112 | 2104 |  |  | 216 | 216 | 12216.43 | 12489.18 | 27 | 27 |  | 2.008 | 2.008 | 1589 | 1590 | 1589 | 1564 | 1564 | 0 | 0 |  |  | 30059 | 30172 | 30509 | 31500 | 877.7 | 893 | 5653 | 5693 | 6146 |  |  | 6648 | 6709 | 6731 | 6685 | 6700 | 16150 | 16155 | 16184 | 1154 | 1156 | 1278.68 | 1607 | 1637 | 1606
- Wind | 0 | 0 | 1 | 1 | 0 | 1674.5375 | 2110.2746 | 2488.7256 | 2730 | 2887 | 3133 |  |  | 1108.5 | 677 | 49 | 45 | 60 | 60 | 60 | 75 | 75 | 270 | 278.1 | 280.6 | 282 | 308.2 | 316.2 |  |  | 4819.81 | 4887.51 | 5076 | 5245 | 5522 | 266 | 334 | 300 | 310 | 311 | 22997 | 23008 | 23014 | 23051.9427 | 23130.4303 | 23368.2652 | 4330 | 367 | 1436 | 1578.5 | 12518 | 258 | 447 | 630 | 10928.85 | 14290.4957 | 8529 | 1363 | 1520 | 1978 | 2089 | 2370 | 254 | 428 | 529 |  |  | 2165 | 2386 | 243.24 | 243.24 | 282 | 438 | 521 | 58.327 | 58.342 | 59 | 69 | 69 | 70 | 77 |  |  |  |  | 705 | 512 | 705 | 873 | 3866 | 1374.7 | 4364 | 4541 | 4826 | 5070 | 5090 | 2605 | 2953 | 2978 | 2989 | 2998 | 4470 | 5420 | 6029 |  |  | 6.09 | 5 | 3 | 4
- Onshore | 0 | 0 | 0 | 0 | 1 | 1674.5375 | 2110.2746 | 2488.7256 | 2730 | 2887 | 3133 |  |  | 943.5 |  | 49 | 45 | 60 | 60 | 60 | 75 | 75 | 270 | 278.1 | 280.6 | 282 | 308.2 | 316.2 |  |  |  |  | 3805 | 3974 | 4226 | [12 empty] | 357 | 1426 | 1568.5 | 12518 |  |  |  | 6100.6 | 2317 | [11 empty] | 2140 | 2361 | [7 empty] | 67 | 69 | 69 | [28 empty] | 5 | 3 | 4
- Offshore | 0 | 0 | 0 | 0 | 1 | [8 empty] | 165 | [18 empty] | 1271 | 1271 | 1297 | [12 empty] | 10 | 10 | 10 |  |  |  |  | 4828.25 | 5086.5 | [11 empty] | 25 | 25
- Differently categorized wind | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [6 empty] | 677 | [7 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  | 4819.81 | 4887.51 |  |  |  | 266 | 334 | 300 | 310 | 311 | 22997 | 23008 | 23014 |  |  |  | 4330 | 0 | 0 | 0 |  | 258 | 447 | 630 | 0 | 6886.9957 | 8529 | 1363 | 1520 | 1978 | 2089 | 2370 | 254 | 428 | 529 |  |  |  |  | 243.24 | 243.24 | 282 | 438 | 521 | 58.327 | 58.342 | -8 | 0 | 0 | 70 | 77 | 0 | 0 |  |  | 705 | 512 | 705 | 873 | 3866 | 1374.7 | 4364 | 4541 | 4826 |  |  | 2605 | 2953 | 2978 | 2989 | 2998 | 4470 | 5420 | 6029 |  |  | 6.09
- Solar | 0 | 0 | 1 | 1 | 0 | 446.9747 | 586.1244 | 722.7962 | 1031 | 1193 | 1373 |  |  |  | 1013 | 437 | 192 | 756 | 1061 | 1394 | 1664 | 1906 | 2132.4 | 2067.4 | 2074.9 | 2067.9 | 2069.5 | 2056.8 |  |  | 570.8 | 606.69 | 782 | 851 | [6 empty] | 6949 | 6946 | 6967 | 6989.7817 | 6992.2016 | 7010.5507 | 4350.97 | 39 | 396.6 | 378.4 | 7170 |  |  |  |  | 1834.7074 | 2172 | 439 | 2419 | 2596 | 2605 | 2604 | [9 empty] | 68 | 73 | 82 | 95.021 | 109.933 | 0.15 | 0.68 | 0.4 | [12 empty] | 283 | 396 | 429 | 459 | 490 | 860 | 1223 | 1301 | 1346 | 1314 | 43 | 79 | 104 |  |  | 268.21 | 588 | 533 | 533
- Photovoltaics | 0 | 0 | 0 | 0 | 1 | 446.9747 | 586.1244 | 722.7962 | 1031 | 1193 | 1373 |  |  |  | 1013 | 437 | 192 | 756 | 1061 | 1394 | 1664 | 1906 | 2132.4 | 2067.4 | 2074.9 | 2067.9 | 2069.5 | 2056.8 | [12 empty] | 4649 | 4646 | 4667 | 4685.6687 | 4688.0886 | 4706.4377 | 4350.97 | [10 empty] | 439 | 2419 | 2596 | 2605 | 2604 | [12 empty] | 95.021 | 109.933 | [20 empty] | 860 | 1223 | 1301 | 1346 | 1314
- Concentrated solar power | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [32 empty] | 2300 | 2300 | 2300
- Differently categorized solar | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | [22 empty] | 570.8 | 606.69 | 782 | 851 | 906 | [5 empty] | 0 | 0 | 0 | 2304.113 | 2304.113 | 2304.113 | 0 | 39 | 396.6 | 378.4 |  |  |  |  | 0 | 1834.7074 | 2172 | [10 empty] | 0 | 0 | 0 | 0 | 68 | 73 | 82 | 0 | 0 | 0.15 | 0.68 | 0.4 |  |  | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 |  | 283 | 396 | 429 |  |  | 0 | 0 | 0 |  |  | 43 | 79 | 104 |  |  | 268.21 | 588 | 533 | 533
- Geothermal | 0 | 0 | 1 | 1 | 1 | 0.922 | 0.915 | 0.915 | 1 | 1 | 1 | [58 empty] | 114 | 114 | [25 empty] | 0.05 | 0.05 | 0.05 |  | 0.05 | [5 empty] | 0
- Marine | 0 | 0 | 1 | 1 | 1 | [42 empty] | 240 | 240 | 240 | 240
- Bioenergy and renewable waste | 0 | 0 | 1 | 0 | 0 | 631.4928 | 627.7673 | 619.4209 |  | 609 | 597 |  |  |  | 23 |  | 1 | 1 | 1 | [21 empty] | 952 | 989 | 747 |  |  |  |  | 0 | 170 | 170 | 1840 |  |  |  | 833 | 5218.8661 |  | 44.5 | 46 | 47 | 52 | 58 | [5 empty] | 363 | 363 |  |  | 81 | 108 | 124 | 13.719 | 14.189 | 161 | 179 | 186 | 143 | 155 | 48 | 48 |  |  |  | 0 | 0 |  | 321.2 | 720.2 | 597 | 600 | 613 |  |  | 96 | 100 | 121 | 122 | 125 | 3444 | 3501 | 3419 |  |  | 63.33 | 84 | 161 | 164
- Biomass and biogas | 0 | 0 | 0 | 1 | 1 | 493.8808 | 491.1113 | 486.2769 |  | 486.339 | 475 |  |  | 363 | 23 | [32 empty] | 0 | 170 | 170 | 1840 |  |  |  | 610 | 2309 |  | 44.5 | 46 | 47 | 52 | 58 | [5 empty] | 118 | 118 |  |  |  | 87 | 102 | 7.916 | 8.316 | 108 | 121 | 126 | 81 | 94 | 48 | 48 |  |  |  | 0 | 0 |  |  | 720.2 |  |  |  | 613 | 624 | 96 | 100 | 121 | 122 | 125 | 3080 | 3082 | 2978 |  |  | 55.14
- Sewage and landfill gas | 0 | 0 | 0 | 1 | 1 | 22.912 | 21.956 | 23.144 |  | 22 | 22 | [5 empty] | 1 | 1 | 1 | [36 empty] | 1277.6623 | [18 empty] | 0.075 | 0.075 | 53 | 58 | 60 | 62 | 61 | [25 empty] | 7.1
- Other bioenergy and renewable waste | 0 | 0 | 0 | 1 | 1 | 114.7 | 114.7 | 110 |  | 100 | 100 |  |  | 334.4 | [26 empty] | 952 | 989 | 747 | [11 empty] | 223 | 1632.2038 | [11 empty] | 245 | 245 |  |  | 81 | 21 | 22 | 5.728 | 5.798 | [13 empty] | 321.2 |  | 597 | 600 | 613 | [7 empty] | 364 | 419 | 441 |  |  | 1.09 | 84 | 161 | 164
- Differently categorized renewable energy sources | 0 | 0 | 1 | 1 | 1 | 0 | 1.2506e-12 | 0 | [27 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1019.0145 | 1020.7405 | 1025.8405 | 0 | 0 | 0 | 1.4779e-12 |  | 0 | 0 | 0 | 0 | 0 | 5964 | 0 | [9 empty] | 0 | 0 | -1.9895e-13 | -1.9895e-13 | 0 | 0 |  | 0 | 1.6342e-13 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 4977.2 | 0 | 0 | 0 |  |  | -7.2475e-13 | -7.2475e-13 | -7.2475e-13 |  |  | 0 | 0 | 0 | 0 | 0 | -1.35e-13 | 0 | 0 | 0
Other or unspecified energy sources | 0 | 1 | 1 | 1 | 1 | 80.4 | 87.4 | 89.6 | 0 | 105 | 105 |  |  |  |  | 0 | 348 | 398 | 398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 574.48 | 574.42 | 615 | 615 | 646 | [7 empty] | 754 |  |  |  | 1486.33 | 62 | 62 | 62 | 175 | 60 | 70 | 80 |  | 9310.9821 |  | 89 | 90 | 0 | 0 | 0 | 212 | 212 | 0 |  |  | 160 | 160 |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  | 743 | 692 | 692 | 692 | 0 | 0 | 0 |  | 1871.5 | 2751 | 339 | 88 | 65 |  |  | 0 | 0 | [6 empty] | 532 | 565 | 134.62 | 25 | 25 | 30
Total | 1 | 0 | 0 | 0 | 0 | 23822.9868 | 24224.1126 | 24637.2245 | 25202 | 25414 | 26217 | 0 | 0 | 15080.4 | 13762 | 20310 | 18209 | 18998 | 19191 | 19622 | 20842 | 21615 | 21079.2 | 21920.4 | 21865.6 | 21991.6 | 22266.7 | 2276.9 | 0 | 0 | 13810.27 | 13656.96 | 14006 | 14247 | 14367 | 3076 | 3137 | 2818 | 2863.5 | 2845 | 105889 | 105794 | 106188 | 104663.8924 | 104114.6468 | 104029.412 | 123949.29 | 104931.76 | 104650.1 | 104007.54 | 131940 | 17330 | 17137 | 16749 | 80945.55 | 94671.8803 | 81294 | 15398 | 17373 | 17696.5 | 18671.4 | 17196.5 | 4330 | 4762 | 4627 | 0 | 0 | 8933 | 9154 | 74293.524 | 73087.234 | 4305 | 3557 | 3666 | 1809.07 | 2022.517 | 3060.65 | 3103.98 | 3119.5 | 3069.1 | 3095.1 | 23527 | 22975 | 18142 | 19188 | 32825 | 31814 | 32860 | 33101 | 39353.1 | 43612 | 17751 | 17776 | 18534 | 19539 | 19800 | 23701.05 | 24500.05 | 24554.05 | 23715 | 23738 | 38273 | 39549 | 39951 | 3622 | 4183 | 3541.9 | 8513 | 8122 | 7779
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.
Values cannot be provided.

## Additional notes
Additional notes
The categories used in the dataset cover different levels, so called energy source levels, to reflect the structural relations among the categories. Moreover, this ensures that the total capacity is identical for each energy source level.
The relation between individual categories and energy source levels is laid down in the additional sheet 'technology levels'.
"Differently categorized …" | These categories comprise either capacities which cannot be assigned to specific categories at the same level, or capacities with unspecified fuel or technology.
"Reservoir including pumped storage" | Aggregated capacity of reservoirs and pumped storage, or combinations of both. Relevant for AT.
"Pumped storage with natural inflow" | Pumped storage with natural inflow, or reservoirs with pumping capacity.